# Chapter 12, Solution 11.

In the wye-delta system shown in Fig. 12.44, the source is a positive sequence with Van = 2400˚ V and phase impedance ZP = 2 – j3 .  Calculate the line voltage VL and the line current IL.

Van

– +

– +

– +

a

Vbn	Zp

b

n	Zp

Vcn		  Zp

c

Figure 12.44

For Prob. 12.11.

Solution

Given that Vp = 240 and that the system is balanced, VL = 1.7321Vp = 415.7 V.

Ip = VL/|2–j3| = 415.7/3.606 = 115.29 A and

IL = 1.7321x115.29 = 199.69 A.