# Chapter 12, Solution 28.

The line-to-line voltages in a wye-load have a magnitude of 440 V and are in the positive sequence at 60 Hz.  If the loads are balanced with Z1 = Z2 = Z3 = 2530˚, find all line currents and phase voltages.

Solution

or  VP = 440/1.7321 = 254

For reference, let VAN = 2540˚ V which leads to

VBN = 254–120˚ V and VCN = 254120˚ V.

The line currents are found as follows,

Ia = VAN/ZY = 254/2530˚ = 10.16–30˚ A.

This leads to, Ib = 10.16–150˚ A and Ic = 10.1690˚ A.