Chapter 13, Problem 67.

An autotransformer with a 40% tap is supplied by a 400-V, 60-Hz source and is used for step-down operation. A 5-kVA load operating at unity power factor is connected to the secondary terminals. Find: (a) the secondary voltage, (b) the secondary current, (c) the primary current.