# Thursday, January 10, 2019

# CHAPTER 12

P.P.12.1	For the abc sequence,  leads  by 120 and  leads  by 120.

Hence,		V

110–90˚V

P.P.12.2

207.860˚V

Alternatively, using the fact that  leads  by 30 and has a magnitude of  times that of ,

207.860˚V

Following the abc sequence,

207.8–60˚V

207.8±180˚V

Following the abc sequence,

3.75111.34˚A

P.P.12.3

The phase currents are

6–60˚ A

6–180˚ A

660˚ A

The line currents are

10.392–90˚ A

10.392150˚ A

10.39230˚ A

P.P.12.4	In a delta load, the phase current leads the line current by 30 and has a magnitude  times that of the line current.  Hence,

5.54865˚ A

12098.69˚ V

P.P.12.5

After converting the -connected source to a Y-connected source,

7.21+173.66˚ A

P.P.12.6

For the source,

–(1.054.2 – j843.3) VA

For the load,

where

(1012 + j801.6) VA

P.P.12.7

Alternatively,

,

=  46.31 A

P.P.12.8

- For load 1,

For load 2,

S = S1 + S2 = 56.47 + j47.29 kVA

with

For each capacitor, the rating is

- At unity pf,

P.P.12.9

The phase currents are

= 35.2+j17.595

= 5.263+j43.68

The line currents are

Ia = IAB – ICA = (35.2+j17.595) – (5.263+j43.68)

= 29.94–j26.08 = 39.71–41.06˚ A.

Ib = IBC – IAB = –48.95–j41.42 = 64.12–139.8˚ A.

Ic = ICA – IBC = 19.013+j67.5 = 70.1374.27˚ A.

P.P.12.10

The phase currents are

The line currents are

42.5–135° A

The real power is absorbed by the resistive load

P.P.12.11	The schematic is shown below.  First, use the AC Sweep option of the Analysis Setup.  Choose a Linear sweep type with the following Sweep Parameters : Total Pts  =  1, Start Freq  =  100, and End Freq  =  100.  Once the circuit is saved and simulated, we obtain an output file whose contents include the following results.

| FREQ | IM(V_PRINT1) | IP(V_PRINT1) |
| --- | --- | --- |
| 1.000E+02 | 8.547E+00 | -9.127E+01 |

| FREQ | VM(A,N) | VP(A,N) |
| --- | --- | --- |
| 1.000E+02 | 1.009E+02 | 6.087E+01 |

From this we obtain,

,

P.P.12.12	The schematic is shown below.

In this case, we may assume that , so that .  Hence,  and .

Use the AC Sweep option of the Analysis Setup.  Choose a Linear sweep type with the following Sweep Parameters : Total Pts  =  1, Start Freq  =  0.1592, and End Freq  =  0.1592.  Once the circuit is saved and simulated, we obtain an output file whose contents include the following results.

FREQ        	IM(V_PRINT1)	IP(V_PRINT1)

1.592E-01   	3.724E+01   		8.379E+01

FREQ        	IM(V_PRINT2)	IP(V_PRINT2)

1.592E-01   	1.555E+01  		-7.501E+01

FREQ        	IM(V_PRINT3)	IP(V_PRINT3)

1.592E-01   	2.468E+01  		-9.000E+01

From this we obtain,

IAB = 15.55–75.01˚A

P.P.12.13

- If point o is connected to point B,

13.175 kW

where

29.91 kW

- Total power is = (13.175+29.91) kW = 43.08 kW.

P.P.12.14	,		,

- 2.356 kVAR

(lagging / inductive)

It is inductive because

- For a Y-connected load,

,

The impedance is inductive.

P.P.12.15

The equivalent Y-connected load is

0.8021 kW