Saturday, January 19, 2019

# CHAPTER 13

P.P. 13.1	For mesh 1,

141.42+j141.42 = 4(1 + j2)I1 + jI2 		(1)

For mesh 2,		0 = jI1 + (10 + j5)I2 				(2)

For the matrix form

= j100,  2 = 141.42–j141.42

I2 = 2/ = (141.42–j141.42)/j100

Vo = 10I2 = 10(–1.4142–j1.4142) = 20–135 V

P.P. 13.2	Since I1 enters the coil with reactance 2 and I2 enters the coil with reactance 6, the mutual voltage is positive.  Hence, for mesh 1,

10060o = (5 + j2 + j6 – j 3x2)I1 – j6I2 + j3I2

or				10060o = (5 + j2)I1 – j3I2			(1)

For mesh 2, 		0 = (j6 – j4)I2 – j6I1 + j3I1

or			I2 = 1.5I1 						(2)

Substituting this into (1),	10060o = (5 – j2.5)I1

I1 = (10060o)/(5.59–26.57o) = 17.88986.57o A

I2 = 1.5I1 = 26.8386.57o A

P.P. 13.3	The coupling coefficient is, k = m/ = 0.7071

To obtain the energy stored, we first obtain the frequency-domain circuit shown below.

100cos(t)  becomes  1000o,  = 2

1H  becomes j1 = j2

2H  becomes  j2 = j4

(1/8) F  becomes  1/jC = -j4

# j2

# j4

+

–

# VS

# 2

# 4

# -j4

# I1

# I2

For mesh 1, 		100 = (4 – j4 + j4)I1 – j2I2

or			50 = 2I1 – jI2							(1)

For mesh 2,		–j2I1 + (2  + j2)I2 = 0

or			I1 = (1 – j)I2							(2)

Substituting (2) into (1),	(2 – j3)I2 = 50

I2 = 50/(2 – j3) = 13.8756.31o

I1 = 19.65811.31o

In the time domain,		i1 = 19.658cos(2t + 11.31o)

i2 = 13.87cos(2t + 56.31o)

At  t = 1.5,	2t = 3 rad = 171.9o

i1 = 19.658cos(171.9o + 11.31o) = –19.62 A

i2 = 13.87cos(171.9o + 56.31o) = –9.25 A

The total energy stored in the coupled inductors is given by,

W = 0.5L1(i1)2 + 0.5L2(i2)2 – 0.5M(i1i2)

= 0.5(2) (–19.62)2 + 0.5(1)(–9.25)2 – (1)(–19.62)(–9.25)

=  246.2 J

P.P. 13.4		Zin  =  4 + j8 + [32/(j10 – j6 + 6 + j4)]

=  4 + j8 + 9/(6 + j8)

=  8.5858.05o Ω

The current from the voltage is,

I  =  V/Z  =  400o/8.5858.05o  =  4.662–58.05o A

P.P. 13.5		L1  =  10,  L2  =  4,  M  =  2

L1L2 – M2  =  40 – 4  =  36

LA  =  (L1L2 – M2)/(L2 – M)  =  36/(4 – 2)  =  18 H

LB  =  (L1L2 – M2)/(L1 – M)  =  36/(10 – 2)  =  4.5 H

LC  =  (L1L2 – M2)/M  =  36/2  =  18 H

Hence, we get the  equivalent circuit as shown below.

# 18 H

# 18 H

# 4.5 H

P.P. 13.6		If we reverse the direction of I2 so that we replace I2 by –I2, we have the circuit shown in Figure (a).

# j6

# j3

+

–

# 120o

# 12

# -j4

# I1

# I2

# j3

# (a)

We now replace the coupled coil by the T-equivalent circuit and assume   =  1.

La  =  5 – 3  =  2 H

Lb  =  6 – 3  =  3 H

Lc  =  3 H

Hence the equivalent circuit is shown in Figure (b).  We apply mesh analysis.

# j3

# I1

# I2

+

–

# 120o

# 12

# j3

# j2

# -j4

# (b)

- =  i1(-j4 + j2 + j3) + j3i2

or  12  = ji1 +  j3i2			(1)

Loop 2 produces,		0  = j3i1 +  (j3 + j3 + 12)i2

or i1  =  (-2 + j4)i2			(2)

Substituting (2) into (1),	12  =  (-4 + j)i2,  which leads to i2  =  12/(-4 + j)

I2  =  -i2  =  12/(4 – j)  =  2.9114.04o A

I1 = i1  =  (-2 + j4)i2  =  12(2 – j4)/(4 – j)  =  13–49.4o A

P.P. 13.7

(a)			n  =  V2/V1  =  110/2200  =  1/20  (a step-down transformer)

(b)			S  =  V1I1*  =  2200x5  =  11 kVA

(c)			I2  =  I1/n  =  5/(1/20)  =  100 A

P.P. 13.8		The 16 – j24-ohm impedance can be reflected to the primary resulting in

Zin  =  2 + (16 – j24)/16  =  3 – j1.5

I1  =  240/(3 – j1.5)  = 240/(3.354∠–26.57°) =  71.5626.57o

I2  =  –I1/n  =  –17.8926.57o

Vo  =  –j24I2  =  (24–90o)(–17.8926.57o)  =  429.4116.57oV

S1  =  V1I1*  =  (240)( 71.5626.57o)  =  17.174–26.57o kVA.

+

V1

–

+

V2

–

# 8

+

–

# 1200o

# 10

# 2

# 1:2

# 4

+   v0   –

# I2

# 2

# I1

# 1

+

V3

–

P.P. 13.9

Consider the circuit shown above.

At node 1,		(120 – V1)/4  =  I1 + (V1 – V3)/8			(1)

At node 2,		[(V1 – V3)/8] + [(V2 – V3)/2]  =  (V3)/8		(2)

At the transformer terminals,	  V2  =  –2V1  and I2  =  –I1/2			(3)

But  I2  =  (V2 – V3)/2  =  –I1/2  which leads to I1  =  (V3 – V2)/1  =  V3 + 2V1.

Substituting all of this into (1) and (2) leads to,

(120 – V1)/4  =  V3 + 2V1 + (V1 – V3)/8  which leads 240  =  19V1 + 7V3	(4)

[(V1 – V3)/8] + [(–2V1 – V3)/2]  =  V3/8  which leads to

V3  =  –7V1/6									(5)

From (4) and (5),

240 =  10.833V1  or  V1  =  22.155 volts

V3  =  –7V1/6  =  –25.85 volts

Vo  =  V1 – V3  =  48 V

P.P. 13.10		We should note that the current and voltage of each winding of the autotransformer in Figure (b) are the same for the two-winding transformer in Figure (a).

+

120V

–

+

10V

–

6 A

# (a)

# 0.5A

# (b)

+

10V

–

+

130V

–

+

120V

–

+

120V

–

# 0.5A

# 3A

# 6.5A

For the two-winding transformer,

S1  =  120x0.5  =  60 VA

S2  =  6(10)  =  60 VA

For the autotransformer,

S1  =  120(6.5)  =  780 VA

S2  =  130(6)  =  780 VA

P.P. 13.11		(I2)*  =  S2/V2  =  16,000/1000  =  16 A

Since S1  =  V1(I1)*  =  V2(I2)*  =  S2,	V2/V1  =  I1/I2,   1000/2500  =  I1/32,

or  I1  =  1000x16/2500  =  6.4 A.

At the top, KCL produces  I1 + Io  =  I2,  or  Io  =  I2 – I1  =  16 – 6.4  =  9.6 A.

# P.P. 13.12

- ST  =  (3)VLIL,  but ST  =  PT/cos  =  40x106/0.85  =  47.0588 MVA

ILS  =  ST/(3)VLS  =  47.0588x106/[(3)12.5x103]  =  2.174 kA

(b)	VLS  =  12.5 kV,  VLP  =  625 kV,  n  =  VLS/VLP  =  12.5/625  =  0.02

(c)	ILP  =  nILS  =  0.02x2173.6  =  43.47 A

or  ILP  =  ST/[(3)vLP]  =  47.0588x106/[(3)625x103]  =  43.47 A

(d)	The load carried by each transformer is  (1/3)ST  =  15.69 MVA

# P.P. 13.13		The process is essentially the same as in Example 13.13.  We are given the coupling coefficient, k  =  0.4,  and can determine the operating frequency from the value of   =  4 which implies that f  =  4/(2)  =  0.6366 Hz.

ACMAG=160V

Saving and then simulating produces,

io  =  2.012 cos(4t + 68.52o) A

P.P. 13.14		Following the same basic steps in Example 13.14, we first assume   =  1.  This then leads to following determination of values for the inductor and the capacitor.

j15  =  jL  leads to  L  =  15 H

-j16  =  1/(C)  leads to  C  =  62.5 mF

The schematic is shown below.

ACMAG=220V

FREQ        	VM($N_0005,0)	VP($N_0005,0)

1.592E-01   	1.530E+02   		2.185E+00

FREQ        	VM($N_0001,0)	VP($N_0001,0)

1.592E-01   	2.302E+02   		2.091E+00

Thus,

V1  =  1532.18 V

V2  =  230.22.09 V

Note, if we divide V2 by V1 we get 1.5046–.09˚ which is in good agreement that the transformer is ideal with a voltage ratio of 1:1.5 (or 2:3)!

P.P. 13.15	V2/V1 = 13,200/120 = 110

P.P. 13.16

+

–

# VS

# ZL/n2

+

V1

–

# Z1

As in Example 13.16,  n2  =  ZL/Z1  =  400/(2.5x103)  =  4/25,  n  =  0.4

By voltage division,  V1  =  Vs/2  (since Z1 = ZL/n2), therefore  V1  =  60/2  =  30 volts,  and

V2  =  nV1  =  (0.4)(30)  =  12 V

# P.P. 13.17

(a)	S  =  12x60 + 350 + 4,500  =  5.57 kW

(b)	IP  =  S/VP  5570/2400  =  2.321 A