Chapter 11, Problem 39.

An ac motor with impedance ZL = 4.2 + j3.6 Ω is supplied by a 220-V, 60-Hz source.  (a)  Find pf, P, and Q. (b) Determine the capacitor required to be connected in parallel with the motor so that the power factor is corrected to unity.