Chapter 11, Problem 51.

For the entire circuit in Fig. 11.70, calculate:

(a) the power factor

(b) the average power delivered by the source

(c) the reactive power

(d) the apparent power

(e) the complex power

Figure 11.70

For Prob. 11.51.