Chapter 12, Problem 23.

A three-phase balanced system with a line voltage of 208 V (rms) feeds a delta-connected load with ZP = 2560 Ω.

- Find the line current.

- Determine the total power applied to the load using two wattmeters connected to A and C lines.