Chapter 12, Problem 28.

The line-to-line voltages in a wye-load have a magnitude of 440 V and are in the positive sequence at 60 Hz.  If the loads are balanced with Z1 = Z2 = Z3 = 2530˚, find all line currents and phase voltages.