Chapter 12, Problem 31.

A balanced delta-connected load is supplied by a 60-Hz three-phase source with a line voltage of 240V. Each load phase draws 6 kW at a lagging power factor of 0.8. Find:

- the load impedance per phase

- the line current

- the value of capacitance needed to be connected in parallel with each load phase to minimize the current from the source.