Chapter 12, Problem 66.

A three-phase, four-wire system operating with a 208-V line voltage is shown in Fig. 12.71.  The source voltages are balanced. The power absorbed by the resistive wye-connected load is measured by the three-wattmeter method.  Calculate:

(a) the voltage to neutral

(b) the currents I1, I2, I3, and In

(c) the readings of the wattmeters

(d) the total power absorbed by the load

Figure 12.71

For Prob. 12.66.