# Chapter 12, Solution 55.

A three-phase supply, with the line voltage 240 V rms positively phased, has an unbalanced delta-connected load as shown in Fig. 12.62.  Find the phase currents and the total complex power delivered to the load.

3030˚ Ω

40 Ω

j25 Ω

C

B

A

Figure 12.62

For Prob. 12.55.

Solution

The phase currents are:

IAB = 240/j25 = 9.6–90˚ A

ICA = 240120˚/40 = 6120˚ A

IBC = 240–120˚/3030˚ = 8–150˚ A

The complex power in each phase is:

The total complex power is

= [3.103+j3.264] kVA